# Site Inspection Report

# 1. General Information

Date: October 24, 2026
Inspector: John Doe
Location: Beta Warehouse Facility, Sector 4

# 2. Exterior Observations

## North Wall

Observation: The exterior north wall exhibits visible cracking near the foundation. Protective coating is peeling off.

## Roof Level

Observation: The Southwest Corner of the roof has accumulated debris. There are signs of water pooling (ponding) around the primary drain, suggesting a partial blockage. Missing shingles noted near the parapet.

# 3. Interior Observations

## Server Room

Observation: Environment feels unusually humid. The HVAC unit making a rattling noise. No visible water leaks on the floor.