# Thermal Imaging Report - Initial Scan

# 1. Overview

Date: November 1, 2026
Equipment: Handheld IR Sensor
Technician: Sarah Jenkins

# 2. Thermal Findings

## Loading Dock A

Finding: Subsurface scanning detects severe wash-out beneath the degraded asphalt, indicating ongoing erosion under the slab.

## Main Lobby

Finding: Above the stained ceiling tiles, the primary chilling pipe shows a thermal leak dropping to 12°C. Insulation on the pipe is likely compromised.